

**2018 Yearly Sewer Report**

**Town’s Sewer Information: 2018**

10 Sewer lift Stations

750 sewer taps in town

12 miles of gravity lines

20 miles of force mains

**64.58** inches of rain in 2018 (average 5.38 inches a month)

90,809,000 gallons into our main sewer lift station

25,000,000 gallons of sewer came from Eureka

8,250,000 sent to town’s sewer lagoon

91,715,572 sewer gallons sent to Goldsboro

\*\*\*\*\*\*\*\*\*\*\*

The Town of Fremont had one (1) spill in 2018 which resulted in the fluctuations in the town’s sewer meters and caused the 2018 sewer measurements for one month to be less than 100%.

The town sustained power outages and loss of a sewer generator, and the Norwayne School Road manhole drained into Aycock Swamp for 70,000 of spill due to loss of generator.

Prepared by: Kenneth Stanley